GISFI Meeting #9		                                     GISFI_IoT_201206229

Mumbai, India – June 18-20, 2012

Agenda item:	WG IoT

Source:	Ericsson, TCS

Title:	Frame-work document for Technical Report on IoT Service Requirements

Document for:	Discussion and approval to accept as baseline Technical Report document

GISFI TR ab.cde V0.0.0 (2012-06)

Technical Report

Global ICT Standardisation Forum for India

Internet of Things

M-Health System Use cases

(Release 1)

The present document has been developed within GISFI and may be further elaborated for the purposes of GISFI.

GISFI TR ab.cde V1.1.0 (2012-06)

Technical Report

Global ICT Standardisation Forum for India;

Technical Working Group IoT;

Service Requirements Technical Report;

(Release 1)

The present document has been developed within GISFI and may be further elaborated for the purposes of GISFI.

Keywords

<keyword[, keyword]>

GISFI

GISFI office address

Global ICT Standardisation Forum for India  (GISFI),

Singhad  Campus, Gat  308/309, Kusgaon (Bk.)

Off. Mumbai– Pune  Expressway, Lonavala,  India

Tel.: +91 2114 304 353 / 401   Fax: +91 2114 278304

Internet

http://www.gisfi.org

E-mail: info@gisfi.org

Copyright Notification

No part may be reproduced except as authorized by written permission.
The copyright and the foregoing restriction extend to reproduction in all media.

© 2010, GISFI

All rights reserved.

Contents

Intellectual Property Rights	7

Foreword	7

Introduction	7

1	Scope	8

2	References	8

3.1	Definitions	8

3.2	Symbols	8

3.3	Abbreviations	8

4	General requirements	9

4.1	IOT Application initiated communication	9

4.2	Message Delivery for sleeping devices	9

4.3	Delivery modes	9

4.4	Message transmission scheduling	9

4.5	Message transmission route selection	9

4.6	Communication with devices behind a gateway	9

4.7	Communication failure notification	9

4.8	Address resolution	10

4.9	Scalability	10

4.10	Abstraction of technologies heterogeneity	10

4.11	Remote and local automation	10

4.12	IOT capabilities discovery	10

4.13	IOT Trusted Application	10

4.14	Mobility	10

4.15	Integrity	10

4.16	Maximum average data rate and peak data rate	10

4.17	Loss tolerance	10

4.18	Localization	11

4.19	Device integrity check	11

4.20	Persistence	11

4.21	Confirm	11

4.22	Priority	11

4.23	Logging	11

4.24	Anonymity	11

4.25	Time Stamp	11

4.26	Interdomain interoperability	11

4.28	Device / Gateway failure robustness	12

4.29	Non-interference with electro medical devices	12

4.30	Radio transmission activity indication	12

4.31	Radio transmission activity control	12

4.32	Operator telco capabilities exposure	12

4.33	Location reporting support	12

4.34	Support of multiple IOT Applications	12

5	Management	13

5.1	Fault	13

5.1.1	Assurance	13

5.1.2	Diagnostics mode	13

5.1.3	Connectivity test	13

5.1.4	Fault discovery and reporting	13

5.1.5	Fault Recovery by Remote Management	13

5.1.6	Service Level Agreement (SLA) monitoring	13

5.2	Configuration	13

5.2.1	Lifecycle management	13

5.2.2	Object information	13

5.2.3	Context	14

5.2.4	Plug and play objects	14

5.2.5	Auto configuration of IOT Area Networks	14

5.2.6	Auto configuration of the IOT Devices and Gateways	14

5.2.7	IOT Area Network resilience	14

5.2.8	Time synchronisation	14

5.2.9	Time management	14

5.2.10	Manageability	14

5.3	Accounting	14

5.3.1	Charging	14

5.3.2	Compensation mechanisms	14

6	Functional requirements for IOT services	15

6.1	Data collection & reporting	15

6.2	Remote control operation	15

6.3	Group mechanisms	15

6.4	Transaction handling	15

6.5	Quality of Service (QoS)	15

6.6	Object type varieties	16

6.7	Information reception	16

6.8	Peer-to-peer communication	16

6.9	Intermittent connectivity	16

6.10	Asymmetric flows	16

6.11	Different paths and resilience	16

6.12	Logical topologies	16

6.13	Capillary interfaces	16

6.14	Information collection & delivery to multiple applications	16

6.15	Management of multiple IOT Devices	16

6.16	IOT Devices description	17

6.17	Wide area environment	17

6.18	Simplified provisioning	17

7	Security	17

7.1	Authentication	17

7.2	IOT Device / IOT Gateway authentication	17

7.3	Authentication of IOT service layer capabilities or IOT applications	17

7.4	Data integrity	18

7.5	Prevention of abuse of network connection	18

7.6	Privacy	18

7.7	Recommendations on the nature of the solution	18

7.8	Mutual authentication and authorization	18

7.9	Device integrity validation	18

7.10	Trusted and secure environment	18

7.11	Security credential and software upgrade requirements	18

8.	IoT system overview and architecture	19

8.1 IoT System Interfaces	19

9.	Naming, numbering and addressing	21

9.1	Naming	21

9.2	Identification	21

9.3	Addressing	21

Annex <A> (normative): Title of normative annex	22

Annex <B> (informative): IOT Services	23

B.2		IOT services overview	23

Annex <C> (informative): IOT use cases	24

C.1	IOT use cases	24

C.1.1	Track and trace use cases	24

C.1.2	Monitoring use cases	25

C.1.3	Transaction use cases	26

C.1.4	Control use cases	26

C.2	Compensation use cases	27

C.2.1	Utility account management for prepaid	27

C.2.2	Micro compensation for sensor readings	27

C.2.3	Additional areas of applicability	27

C.2.4	Service capabilities and primitives	27

C.2.5	Example micro compensation scheme	27

C.3	Home Automation use cases	28

C.3.1	Energy efficiency at home	28

Annex <D> (informative): Security aspects	30

D.1	Trusted and secure Environment	30

Annex <y> (informative): Bibliography	32

History	33

# Intellectual Property Rights

IPRs essential or potentially essential to the present document may have been declared to GISFI. The information pertaining to these essential IPRs, if any, is publicly available for GISFI members and non-members, and can be found in GISFI yyy: "Intellectual Property Rights (IPRs); Essential, or potentially Essential, IPRs notified to GISFI in respect of GISFI standards", which is available from the GISFI Secretariat. Latest updates are available on the GISFI Web server (http://www.gisfi.org).

Pursuant to the GISFI IPR Policy, no investigation, including IPR searches, has been carried out by GISFI. No guarantee can be given as to the existence of other IPRs not referenced in GISFI yyy (or the updates on the GISFI Web server) which are, or may be, or may become, essential to the present document.

# Foreword

This Technical Report (TR) has been produced by GISFI WG Internet of Things (IOT).

The present document may be referenced by other TRs and Technical Standards (TS) developed by GISFI WG IoT.

# Introduction

Internet of Things (IoT) communications is the communication between two or more entities that do not necessarily need any direct human intervention. IoT services intend to automate decision and communication processes.

The IoT service requirements detailed in this document enable consistent, cost-effective, communication for wide-range ubiquitous applications. Examples of such applications include: fleet management, smart metering, home automation, e-health, etc.

The present document, together with the architecture specification, TS  [x], forms the basis for the IOT communications detailed technical specifications.

The present document studies general and functional requirements for IOT communication services.

# 1	Scope

The present document specifies the IOT service requirements aiming at an efficient end-to-end delivery of IOT services.

The present document contains the following sections:

( General requirements – describes communications features necessary for the correct establishment of IOT 	communications,

( Service environment – specifies requirements taking into account the environment in which the IOT services 	need to be delivered,

( Management – specifies requirements related to the management modes (malfunction detection, configuration, 	accounting, etc.).

( Service Classes – provides a list of the IOT service class properties from which specifications for the 	different IOT service classes are derived.

( Functional requirements for IOT services - describes functionalities-related requirements for IOT (data 	collection & reporting, remote control operations, etc.)

( Security – covers the requirements for IOT device authentication, data integrity, privacy, etc.

( Naming, numbering and addressing – provides the requirements relating to naming, numbering and 	addressing schemes specific to IOT.

# 2	References

[1]	Technical Report on IoT Reference Architecture (Draft - GISFI_IoT_201203175)

[2]. 	Frame-work document for Technical Report on IoT Service Requirements (Draft GISFI_IoT_201106103)

## 3.1	Definitions

For the purposes of the present document, the following terms and definitions apply:

IOT System : this term is used in this document as meaning the IOT System in general, by reference to the architecture ( to be put in the IOT Definitions TR.

## 3.2	Symbols

For the purposes of the present document, the following symbols apply:

<symbol>	<Explanation>

<2nd symbol>	<2nd Explanation>

<3rd symbol>	<3rd Explanation>

## 3.3	Abbreviations

For the purposes of the present document, the following abbreviations apply:

CPE	Customer Premises Equipment

LAN	Local Area Network

IOT	Internet of Things (communication)

WAN	Wide Area Network

# 4	General requirements

General requirements specified below are for the IOT System in general, meaning that not all particular IOT systems or components of these systems need to implement every requirement.

It is up to the IOT Core to check the matching between the Service Class requested by an IOT Application and the Device capabilities. If a mismatch is observed, the IOT Core shall send a warning to the IOT Application. The IOT Application shall be allowed to request the Device capabilities.

## 4.1	IOT Application initiated communication

The IOT System shall be able to establish a communication session for IOT Applications between the Network and Applications Domain and the IOT Device or IOT Gateway regardless of network addressing mechanism used, e.g. in case of an IP based network the session establishment shall be possible when IP static or dynamic addressing are used.

## 4.2	Message Delivery for sleeping devices

It shall be possible to send a message addressed to a sleeping device. The IOT System will deliver the message to the device when it becomes awake.

## 4.3	Delivery modes

The IOT System shall support anycast, unicast, multicast and broadcast communication modes. Whenever possible a global broadcast should be replaced by a multicast or anycast in order to minimize the overload on the communication network.

## 4.4	Message transmission scheduling

The IOT System shall be aware of the scheduling delay tolerance of the IOT Application.

The IOT System shall be able to only allow access to the network during a (pre)defined time period.

## 4.5	Message transmission route selection

The IOT System shall be able to optimize communication paths, based on policies such as network cost or delay when multiple routes exist.

Upon a transmission failure the IOT System shall use other communication routes if existing.

## 4.6	Communication with devices behind a gateway

The IOT System shall be able to communicate with IOT Devices behind a gateway.

## 4.7	Communication failure notification

IOT Applications, requesting reliable delivery of a message, shall be notified of any failures to deliver the message.

## 4.8	Address resolution

The IOT System should be able to address the IOT Devices or IOT Gateways using IOT Device Names or IOT Gateway Names respectively.

## 4.9	Scalability

The IOT System solution shall be scaleable in terms of number of connected objects.

## 4.10	Abstraction of technologies heterogeneity

The IOT Gateway may be capable of interfacing to various IOT Area Network technologies.

## 4.11	Remote and local automation

The IOT System shall be able to treat and react with appropriate delays to events, data and messages content. Depending on the application the treatment and the reaction may happen in the IOT Core, in the IOT gateway, or in the IOT Device.

## 4.12	IOT capabilities discovery

The IOT System shall support mechanisms to allow IOT Applications to discover IOT Capabilities offered to them.

Additionally the IOT device and IOT gateway shall support mechanisms to allow the registration of its IOT capabilities to the IOT system.

## 4.13	IOT Trusted Application

The IOT Core may handle service request responses for trusted IOT Applications by simplifying the authentication procedures.

The IOT system may support trusted applications that are applications pre-validated by the IOT Core.

## 4.14	Mobility

The IOT System shall support seamless mobility and roaming.

## 4.15	Integrity

The IOT System shall be able to provide mechanisms to assure integrity of transmitted information.

## 4.16	Maximum average data rate and peak data rate

The IOT System should be aware of the maximum average data rate over a period of [1h] that needs to be supported for IOT services.

The IOT System should be aware of the peak data rate that needs to be supported for IOT services.

## 4.17	Loss tolerance

The IOT System should be aware of the loss tolerance of IOT services requested by the IOT Application.

## 4.18	Localization

The IOT System shall support localization of source and / or destination of information transmission.

## 4.19	Device integrity check

The IOT System shall support IOT Device integrity check.

## 4.20	Persistence

The IOT System shall support persistent connectivity.

## 4.21	Confirm

The IOT System shall support mechanisms to confirm messages. A message may be unconfirmed, confirmed or transaction controlled. Transaction control is a messaging capability which has to implement functionality for commit and rollback as well as for locking involved data sets.

## 4.22	Priority

The IOT System shall support the management of priority levels of the services and communications services. Ongoing communications may be interrupted in order to serve a flow with higher priority (i.e. pre-emption).

## 4.23	Logging

Messaging and transactions requiring non-repudiation shall be logged. Important events (e.g. received information from the IOT Device or IOT Gateway is faulty, unsuccessful installation attempt from the IOT Device or IOT Gateway, service not operating, etc.) should be logged together with diagnostic information. Logs shall be retrievable upon request.

## 4.24	Anonymity

The IOT System shall support Anonymity. If anonymity is requested by an IOT Application from the IOT Device side and the request is accepted by the network, the network infrastructure will hide the identity and the location of the requestor, subject to regulatory requirements.

## 4.25	Time Stamp

The IOT System shall support accurate and secure and trusted time stamping. IOT Devices may support accurate and secure and trusted time stamping.

## 4.26	Interdomain interoperability

Interdomain (i.e. administrative and technology) interoperability would be desirable for:

•	Multicast / Broadcast

•	Mobility

•	Location

•	QoS control of IP bearer

•	Identification and security

•	AAA

•	Routing

•	Management.

4.27	Information hiding

It shall be possible to hide (e.g. encrypt or delete) irrelevant information when domain borders (administrative or technological) are crossed.”

## 4.28	Device / Gateway failure robustness

After a failure, e.g. after a power supply outage, a IOT Device or Gateway  should immediately return in a full operating state autonomously.

## 4.29	Non-interference with electro medical devices

The IOT system or parts of it, should avoid interfering with the detection and measurement of very low voltage signals to be acquired and used by the IOT Application (e.g. in case of eHealth applications where ECG body signals continuously measured by a wireless sensor body network can be heavily disturbed by nearest GSM/GPRS transmitters, belonging to the IOT Gateway of the electro medical device).

## 4.30	Radio transmission activity indication

Depending on the type of IOT service, all the radio transmitting parts (e.g. GSM/GPRS) of the IOT Device (or Gateway) shall provide a real-time indication of radio transmission activity to the application on the IOT Device/Gateway.

## 4.31	Radio transmission activity control

Depending on the type of IOT service, all the radio transmitting parts (e.g. GSM/GPRS) of the IOT Device (or Gateway) may be instructed real-time by the application on the IOT Device/Gateway to suspend/resume the radio transmission activity.

## 4.32	Operator telco capabilities exposure

The IOT interface to the external IOT applications shall enable the exposition of telco operator capabilities (e.g. SMS, USSD, localization, subscription configuration, authentication (e.g. Generic Bootstrapping Architecture), etc). The service platform shall be able to provide access to non-IOT resources abstracted as IOT resources to provide to the applications a consistent use of the IOT capabilities.(e.g. to send an SMS to common cellular phones).

## 4.33	Location reporting support

IOT Device/Gateway location may be made available to IOT applications as part of IOT services. The location information of the IOT device/IOT gateway may be determined by the underlying network procedures ( taking into account relevant privacy/security settings for transfer of such information),  by application-level information reported from the IOT device/ gateway application, or a combination of both.

## 4.34	Support of multiple IOT Applications

The IOT System shall support mechanism to manage a multiple IOT Network Applications and to provide a mechanism to interact between multiple IOT Network Applications. This mechanism shall support as following :

Maintenance of the list of registered IOT Network Applications

Maintenance of registration information of IOT Network Applications

Notification of newly registered IOT Network Applications towards the requested IOT Network Applications which is authenticated and authorized for the mutual information exchange between multiple IOT Network Applications.

Notification of newly registered IOT Network Applications towards the requested IOT Device or IOT Gateway.

# 5	Management

## 5.1	Fault

### 5.1.1	Assurance

Network related functionality and managed IOT Devices or IOT Gateways shall be monitored proactively in order to attempt to prevent and correct errors.

### 5.1.2	Diagnostics mode

The IOT System shall be able to verify the correct functioning of the IOT Application.

### 5.1.3	Connectivity test

The IOT System shall support testing the connectivity towards a selected set of Cos at regular intervals provided the Cos support the function.

### 5.1.4	Fault discovery and reporting

The CO operational status shall be monitorable and manageable, provided the Cos support the function.

### 5.1.5	Fault Recovery by Remote Management

IOT devices may support remote management for fault recovery e.g. firmware update, quarantine device. After this operation of firmware update, the device may reboot to a known and consistent state.

### 5.1.6	Service Level Agreement (SLA) monitoring

The IOT device and IOT gateway that support SLA monitoring may record power outages, including the duration, start time and end time.

The IOT device that support SLA monitoring may record communication outages, including the duration of lost connectivity, the start time and the end time.

## 5.2	Configuration

### 5.2.1	Lifecycle management

Lifecycle management shall apply to individual Cos and to IOT Services.

### 5.2.2	Object information

Static information such IOT capabilities may be assigned to IOT Devices and Gateways.

### 5.2.3	Context

Dynamic information such as location, state, availability may be associated to IOT Devices and Gateways.

### 5.2.4	Plug and play objects

IOT Devices and Gateways should be plug-and-play with respect to achieving connectivity.

### 5.2.5	Auto configuration of IOT Area Networks

The IOT System shall support auto-configuration functions for  IOT Area Networks.

### 5.2.6	Auto configuration of the IOT Devices and Gateways

The IOT System shall support auto-configuration functions for  IOT Devices and Gateways.

### 5.2.7	IOT Area Network resilience

An IOT Device or IOT Gateway experiencing a fault shall not affect the normal operation of the IOT Area Network.

### 5.2.8	Time synchronisation

The IOT System shall support accurate and secure time synchronisation. IOT Devices and IOT Gateways may support time synchronization or secure time synchronisation

### 5.2.9	Time management

IOT Devices and IOT Gateways may need to have secure local clock.

### 5.2.10	Manageability

The following management capabilities shall be supported from the network side (i.e. manageability will depend on the end-system):

•	Secure software and firmware provisioning

•	Configuration management

•	Subscription management for IOT application provider:

-	Flexibility to choose IOT application provider after manufacture and after deployment of equipment.

-	Flexibility to change IOT application provider for already-deployed equipment (possibly without visiting the equipment).

## 5.3	Accounting

### 5.3.1	Charging

The IOT System shall support the generation of charging information about the used IOT resources.

### 5.3.2	Compensation mechanisms

The IOT System shall support the mechanisms required for secured and traceable compensation and micro-compensation.

# 6	Functional requirements for IOT services

## 6.1	Data collection & reporting

The IOT System shall support the reporting from a specific IOT Device or IOT Gateway or group of IOT Devices or group of IOT Gateways in the way requested by the IOT Application as listed below:

- a periodic reporting with the time period being defined by the IOT application,

- or an on-demand reporting with two possible modes. One is an instantaneous collecting and reporting of data, the other one is a reporting of the data that were pre-recorded at the indicated specific time period.

## 6.2	Remote control operation

The IOT System shall support the capability to remotely change the state of a IOT Device e.g. enable or disable.

## 6.3	Group mechanisms

A group is an entity that encapsulates and implements scoping, grouping, subdividing, and crossing boundaries of sets of entities. It should be possible to identify and address all objects in a specific group. The abstraction should support the primitives in the table 3 below.

| Primitives | Parameters | Description |
| --- | --- | --- |
| Create-group | (Invariants, Group-ID) | A Group with specified invariants is created |
| Destroy-group | (Group-ID) | Deletes specified group |
| Introduce-into | (Group-ID, Entity-ID) | Adds entity |
| Modify-invariants | (Group-ID, Entity-ID, attribute-value-pair) | Replaces invariants. This may cause side effects. |
| Remove-from | (Group-ID, Entity-ID) | Removes entity |
| List-members | (Group-ID, Entity-ID-list) | Identifies all members of the group |
| Member | (Group-ID, Entity-ID) | Check for membership |
| Search | (Group-ID, query) | Search entities |
| Memberships | (Entity-ID, Group-ID-list) | Identifies all the groups where the entity is a member |

Table 3 : primitives to be supported

## 6.4	Transaction handling

The IOT System shall support transaction handling between cooperating objects capable of handling this functionality.

## 6.5	Quality of Service (QoS)

The IOT System should support quality of service controlled bearers. IOT applications or capabilities may use QoS capabilities of the core network when implemented by the system.

## 6.6	Object type varieties

The IOT System shall be optimized to efficiently support a variety of different object types, e.g. active objects and sleeping objects, upgradable objects and not upgradable objects. The network must support parameter constrained operations where the parameters are controllable resources like CPU, memory size, battery level, etc.

## 6.7	Information reception

The IOT System shall support the following mechanisms for receiving information from IOT Devices and IOT Gateways:

•	Receiving unsolicited information (passive retrieval).

•	Receiving scheduled information

•	Operating particular algorithms for retrieving information (e.g., round robin, random within given time window, round robin groups with random reply in given time window).

## 6.8	Peer-to-peer communication

An object may be able to communicate in a peer-to-peer manner with any other connected object. In this case, packet flows should be supported between these objects.

## 6.9	Intermittent connectivity

The IOT System shall be aware of the reachability state of the objects.

## 6.10	Asymmetric flows

IOT Devices and Gateways should support asymmetric flows.

## 6.11	Different paths and resilience

The IOT System should support physical paths diversity if required by the service requirements.

## 6.12	Logical topologies

The IOT System should support topology abstractions.

## 6.13	Capillary interfaces

The IOT System shall be capable of interfacing heterogeneous capillary technologies. This may be achieved through a gateway.

## 6.14	Information collection & delivery to multiple applications

The IOT System shall support the ability for multiple IOT Applications to interact with the same IOT Devices.

## 6.15	Management of multiple IOT Devices

The IOT Application shall be able to manage one or multiple IOT Devices, e.g. for information collection, control, either directly or through using capabilities in the IOT Service Capabilities”.

# 6.16	IOT Devices description

IOT characteristics of the IOT Device shall be either preconfigured in the IOT system or provided by the IOT Device to the IOT system; the characteristics provided by the IOT Device take precedence over the preconfigured characteristics.

## 6.17	Wide area environment

The IOT services may support multiple communication means, e.g. SMS, GPRS and IP Access.

## 6.18	Simplified provisioning

The IOT System shall support mechanisms to perform simple and scalable provisioning of IOT Devices. The provisioning mechanism shall be able to work when the communication path to the IOT Device is temporary absent.

The IOT Application or Capabilities in the Service Capabilities shall support auto-configuration, that is without human intervention, of IOT Device or IOT Gateway when these are turned-on. The IOT Device or IOT Gateway may support auto-configuration and registration to IOT Application functions.

# 7	Security

In this section we elaborate on the security requirements for the IOT System. We expand on the basic requirements of confidentiality, integrity, authentication, and authorization and provide specific examples of potential threats that the system should be protected against.

## 7.1	Authentication

An entity requesting a service may authenticate the peer entity as part of setting up a service and maintaining a service.

The IOT system may support mutual authentication and one-way authentication.

The entity authenticating the peer may choose from different security strengths to ensure appropriate level of security.

Each service shall be able to perform authentication independently.

## 7.2	IOT Device / IOT Gateway authentication

The IOT System shall be able to authenticate the IOT Device or IOT Gateway. For IOT Devices supporting authentication and connected via an IOT Gateway, the authentication may be performed directly to the IOT System or to the authenticated IOT Gateway.

## 7.3	Authentication of IOT service layer capabilities or IOT applications

When there is a request for data or device access, the IOT Device or IOT Gateway should be able to mutually authenticate with the IOT Service Capabilities or IOT Applications from which request is received.7.3	Data transfer confidentiality

The IOT System shall support appropriate confidentiality of the data exchange. A particular IOT application may or may not require the use of such confidentiality..

## 7.4	Data integrity

End points of the IOT System shall be able to verify the integrity of the data exchanged.

## 7.5	Prevention of abuse of network connection

IOT security solution should be such that it is not possible to illegally use the IOT Device for unintended applications.

## 7.6	Privacy

The IOT System shall be capable of protecting privacy.

## 7.7	Recommendations on the nature of the solution

The IOT System shall allow multiple stakeholders involved in the delivery of the service. All requirements including security shall be applicable in this case.

## 7.8	Mutual authentication and authorization

The IOT System shall support mutual authentication and authorization between the end-user and the application or capability in the IOT service layer.

## 7.9	Device integrity validation

The IOT System shall support a mechanism for device integrity validation. The IOT Device may or may not support integrity validation. If the IOT Device supports integrity validation and if the device validation fails, the device shall not be allowed to perform device authentication.

The mechanism for device integrity validation may be initiated upon query from the IOT System or may be autonomously started locally by the IOT Device at any time.

The IOT System may remotely get the historical log of tamper detection in a IOT Device if supported by the device.

## 7.10	Trusted and secure environment

IOT devices that require device integrity validation shall provide a trusted execution environment. The Trusted Environment (TrE) shall be a logical entity which provides a trustworthy environment for the execution of sensitive functions and the storage of sensitive data. All data produced through execution of functions within the TrE shall be unknowable to unauthorized external entities. The TrE shall perform sensitive functions (such as storing secret keys and providing cryptographic calculations using those secret keys) needed to perform IOT device integrity check and device validation.

## 7.11	Security credential and software upgrade requirements

IOT System shall be able to remotely provide the following features:

•	Secure updates of security software and firmware of the IOT Device / Gateway

•	Secure update of security context (security keys and algorithms) of the IOT Device / Gateway

# IoT system overview and architecture

In order to facilitate the understanding of some of the terms used in the present TS, the following figure provides a High-Level IoT System Architecture (HLSA):

Figure 1[1]: IOT high level system overview with its interfaces. The IoT system Architecture includes IoT Device domain, and a Network and applications domain. The HLSA is based on existing standards regarding the network domain extended with IOT specificities.

## 8.1 IoT System Interfaces

| Interfaces | Type | Requirement | Capabilities | Standard body | Use-case |
| --- | --- | --- | --- | --- | --- |
| I1 |  | . | This is the reference interface between the IoT Device and the IoT gateway. I1 will accommodate the co-existence of multiple legacy link level and sensor network standards. A unified data interchange format between sensors and gateway can be a focus here. |  | MHealth, Farming |
|  | I1a | Data | Device specific protocol, light weight uses energy and bandwidth in an optimized ways, capable of data publishing - example MQTT-S, configuration attributes are required for exchanging the information with the sensors | I1a is the interface that has the capability of handling the data path between devices and gateway. | ETSI, GISFI, TIA |  |
|  | I1b | Management | Configuration parameter into device specific format- like XML/SensorML. Exchanges device registration, capability negotiation, device configurations, etc. | Device specific management functions such as sensor sampling configuration, security settings, device registration, device health check, firmware upgrade etc will be done through this interface. | ETSI, GISFI, TIA |  |
| I2 |  |  | This is the reference interface between the IoT gateway and IoT service platform. It has a data path as well as a management path. The connectivity is provided using IoT Core Network which is predominantly an IP capable core network infrastructure such as xDSL, 3GPP, 3GPP2, etc. |  |  |
|  | I2a | Data | Device specific protocol, light weight uses energy and bandwidth in an optimized ways, capable of data publishing – example CoAP | It exchanges the data that includes various sensor observations, aggregates from the IoT Gateway to the IoT Service Platform. |  |  |
|  | I2b | Management |  | This interface takes care of the gateway management functions including security/authentication configuration, firmware up-gradation, application download, health monitoring etc. |  |  |
|  | I2c | Slef-loop Similar Gateways |  | This interface takes care of communication between gateways to enable mobility, resilience, and scalability. | TIA, GISFI |  |
| I3 |  |  | This interface provides a uniform access of various IoT services to the domain specific vertical applications. The applications may run at different physical entities but they need to have the IoT services access from multiple service providers. |  |  |
|  | I3a | Data | Data, from various applications to the service platform needs to be exchanged, generic API set. | This interface exposes the access to various data services |  |  |
|  | I3b | Management |  | This interface provides access to various management and administrative services. This includes user management, device registration, storage management, IoT application store, access control, privacy etc. |  |  |
|  | I3c | Intra-layer communications |  | It enables IoT Service Platform to communicate with another IoT Service Platform towards scalability and data exchange with peer IoT systems. |  |  |

# Naming, numbering and addressing

## 9.1	Naming

The IOT System should be flexible in supporting more than one naming schemes.

## 9.2	Identification

The IOT System should support identification of Cos or groups of Cos by their names, temporary id, pseudonym, location or combination thereof.

It shall be possible to reuse names and IDs for certain classes of devices or devices operating in certain (i.e. resource constrained) environments.

## 9.3	Addressing

The IOT System shall allow flexible addressing schemes, including:

- IP address of CO

- IP address of group of Cos

- E.164 addresses of CO (e.g. MSISDN)

- IMSI (International Mobile Subscription Identity)

- URL, e.g. SIP or e-mail addresses.

Annex <A> (normative):
Title of normative annex

<Text>

Annex <B> (informative):
IOT Services

# B.2		IOT services overview

<Text>

Annex <C> (informative):
IOT use cases

# C.1	IOT use cases

The following use cases are studied.

## C.1.1	Track and trace use cases

Track and trace use cases are mainly automotive related, but also related to tracking and trace of goods in production environments and retail, e.g. based on RFID technology.

IOT applications within the automotive industry are focused on delivering enhanced security for people (emergency call applications) or assets (theft tracking applications). Fleet management applications focus on increased operational efficiency and increased incremental revenue. These services are broad ranging and include remote diagnostics, navigation systems, pay-as–you-drive (insurance, in-car services), etc.

For use cases in the automotive sector there are common automotive criteria. The Automotive Electronics Council (AEC) was established for the purpose of establishing common part-qualification and quality-system standards directly addressing product reliability. The AEC Component Technical Committee is the standardization body for establishing standards for reliable, high quality electronic components.

The automotive market increasingly requires that semiconductor suppliers provide products compliant to the AEC-Q100 standard and ISO 16750 (provides guidance regarding environmental conditions commonly encountered by electrical and electronic systems installed in automobiles) as such the IOT Devices and modules must comply with all these requirements.

Use case – Emergency Call

The in-vehicle emergency call system can save lives by automatically or manually sending the accurate location and driver information to an emergency centre. In this use case, an in-vehicle IOT communication module enables the transfer of emergency call data between the vehicle and an emergency service.

In this use case, a vehicle has a built-in IOT communication module which is connected to sensors that can identify an occurring accident. In case of an accident the module automatically sets up a connection to an emergency centre and sends information about the location, an indication about the level of the accident and maybe other additional information that might be available and evaluated as useful. (These services may be implemented via applications residing inside the IOT module). A key criterion for this use case is that the IOT module and its interfaces are able to survive and operate after a shock caused by an accident. Additionally, the automotive industry has indicated that the size of the IOT module and the ability of the module to communicate whilst in a normal automotive environment, over the expected vehicle lifetime, are important.

Use case – Fleet Management

For this use case, a vehicle has a built-in IOT communication module which is typically owned by a company (not the user). The module collects information, for example: location, timings, traffic jams, maintenance data and transport environmental conditions. This information can be sent by the module via a mobile network to a server application where it can be used to track the vehicle and deliveries.

Using the retrieved information, a server application can effectively optimise the delivery plan and route. The adjusted delivery plan is then sent via the mobile network to the vehicle and appropriate information can be displayed to the driver. Additionally, based on the maintenance related information, maintenance can be planned or remote maintenance performed. In addition, environmental sensors can be used to retrieve information on the storage environment and condition of product being transported.

Key criterion for this use case is the ability of the IOT communication module to communicate whilst in a normal automotive environment, over the expected vehicle lifetime.

Use case – Theft Tracking

Currently, the theft of automobiles is usually prevented in one of two ways, either by deterring the thief with an alarm system or by preventing the engine from starting with an immobiliser system. These systems however can be evaded, for example by quickly disabling or ignoring the alarm system, or transporting the vehicle without the aid of the engine.

In this use case the introduction of IOT allows for the possibility of preventing the theft itself or recovering the vehicle, for example by theft tracking. It is envisioned that the IOT module will allow secure communication over the network to a third party entity.

IOT in this use case will have to function in an extended temperature and humidity range not usual for a terminal. In addition, the connection with the IOT communications module will have to withstand the vibration produced by the engine of the vehicle as well as by the vehicle on the road. To keep IOT module from suffering the same fate as numerous alarm systems, it needs to be protected against theft and misuse, for example through IOT UICC to vehicle and/or communications module pairing.

Another factor in this environment is the often limited space available to conceal or secure the system from theft and misuse, which means that the size of IOT modules must be kept small. In order to make it available to a large segment of the automobile market, in some cases, the IOT module will have to be integrated in mass produced modules as generally required by the automobile manufacturer groups. As vehicles are built to have a lifetime that may easily extend beyond ten years, but also keeping the costs of maintenance to a minimum, lifetime expectation is also a factor.

Use case – Surveillance Security Systems

The details of “Surveillance security system use cases” is depicted in the document TR GISFI_IoT_20110673 by NECUse case – Surveillance Security Systems

The details of “Food Supply chain management using LTE network cum wireless use case” is depicted in the document TR GISFI_IoT_20110672 by NEC

## C.1.2	Monitoring use cases

IOT applications within this category are either used to monitor and control utilities consumption, or monitor, track and trace persons, animals or assets.

Use case – Metering / Prepaid delivery of utilities (water, gas, electricity)

The utility companies deploy intelligent metering services by installing IOT communication modules on metering devices which can send information automatically or on demand to a server application which can, for example, be used to automatically bill the metered resource. In this use case the purpose is either to improve energy performance and efficiency through the delivery of a much more accurate picture of consumption, efficiency and cost, while also delivering the end user actual usage without human intervention. This in turn provides a positive environmental impact. In the opposite direction information inside the metering device may be securely updated (over the air).

Metering devices are often placed in harsh environments. In many metering devices space is very limited, meaning the size of the IOT communication module needs to be minimised. Metering devices may be produced in high volumes, which require that the IOT modules can be integrated in an industrialised process. As sensitive data might be stored, the modules need to be protected against theft and misuse.

An extension of the above use case for metering of gas, electricity, water, is based on pre-payment. A household can purchase a specific volume of gas, electricity, water, etc. by pre-payment. The information about the purchased volume is securely transmitted (over the air) to the metering device and then securely stored inside the IOT modules. During consumption the actual information about the consumed volume is transmitted to the IOT module. When the purchased volume has been consumed the supply can be stopped.

This use case implies the ability to perform secure transactions between the IOT module and the controlled metering device. This may also include the possibility to securely perform control operations e.g. stopping the delivery.

The TR GISFI_IoT_20110677 by describes the use case on IoT privacy on smart meter.

Use case – Patient Monitoring

The TR GISFI_IoT_20110687 by Erricson describes about the use case on ehealth.

The TR GISFI_IoT_20110671 by NEC describes about the mhealth usecase.

The TR GISFI_IoT_20110678 by TCS describes the user story on healthcare.

Use case – e- Agriculture

The TR GISFI_IoT_20110680 by TCS describes the use case on e-agriculture.

## C.1.3	Transaction use cases

Use case – PoS Terminals (Point of Sale Terminals)

Today most Point of Sales terminals are connected via a wired connection. For the use in locations like bars, restaurants, etc. this means they are mounted or placed at a fixed position, and the person who wants to perform a transaction needs to go to the location of the PoS terminal. This causes inconveniences for the sales person/waiter as well as for the customer. In the case of remote located PoS terminals, e.g. parking meters, ticketing machines, etc. these require a wired connection which is often difficult and costly to be installed and may also be exposed to damages. Another option is to connect PoS terminals via a (local) wireless connection which imposes some security constraints

The introduction of the IOT modules into this environment allows additional possibilities for applications, as IOT communication modules can be installed into wireless PoS terminals, street parking and ticketing machines, etc. to provide communication for credit or debit card on-line transactions. The use of a IOT communication module can offer a secure communication channel.

Typically these devices including the IOT communication module will need to pass specific security requirements for financial transactions.

## C.1.4	Control use cases

Use case – Controlling vending machines

Today, vending machines are placed in various locations like e.g. inside office buildings, public buildings, public outside places, railway stations, etc. The re-filling and maintenance of vending machines is today done by dedicated personnel who have to visit the vending machines at regular intervals to check the fill-levels, re-fill the machines, perform maintenance and identify damages or malfunction.

The introduction of IOT into this environment allows additional possibilities for optimisation of the operation of vending machines. By allowing access to a (mobile) telecommunication network, the IOT modules can be used by a built-in IOT communications module to provide authenticated information about the current status of the vending machine via the network to a background service. Via this connection it is possible to transmit information about the current fill-levels, maintenance status, possible damages, malfunctions, etc. Additionally it is possible to transmit updates of e.g. pricing information or perform remote maintenance. This way the vending machines need only to be visited as required.

Use case – Controlling production machines

Today, production machines are placed normally inside production facilities which, depending on these facilities may expose the production machine to harsh environments. The repair and maintenance of production machines is today done by dedicated personnel who have to visit the production machines at regular intervals to repair, perform maintenance and identify damages or malfunction.

The introduction of IOT into this environment allows additional possibilities for optimisation of the operation of production machines. By allowing access to a mobile telecommunication network, the IOT modules can be used by a built-in IOT communications module to provide authenticated information about the current status of the production machine via the network to a background service. Via this connection it is possible to transmit information about the current maintenance status, possible damages which may lead to malfunctions, etc. Additionally it is possible to transmit updates of e.g. updated software or perform remote maintenance, e.g. via Over-The-Air functionality. This way the production machines need only to be visited as required.

References

# C.2	Compensation use cases

## C.2.1	Utility account management for prepaid

A consumer, with a prepaid arrangement, receives an indication (e.g. on the Local display) that his prepaid account is soon exhausted. Thus, he initiates a refill of the account, e.g. via the Local display, a home-banking application or the mobile phone. The mechanism involved apply a trusted third party (e.g. a bank or a credit card company) to verify and carry out the refilling of the account.

## C.2.2	Micro compensation for sensor readings

A service provider offering sensor readings of the water temperature at attractive sea locations for bathing charges 1/50 EURO for each reading. The compensation scheme requires computerized micro-payment to be applied in order to be cost effective.

## C.2.3	Additional areas of applicability

•	In transport / logistics where e.g. a driver can register delivered goods and receive payment.

•	EPOS applications

•	NFC payments e.g. via the MS.

All these areas benefits from electronic compensation capabilities.

## C.2.4	Service capabilities and primitives

Settlement and compensation is part of the Management domain. The following high level primitives may be used for settlement between any pair of objects (i.e. the compensator and the compensated). It is a precondition for the settlement that the object has a valid account and relation with a mutually trusted broker (e.g. a bank).

•	Commit Value (Object-ID Vendor, Currency , Integer Divided by, Object-ID Broker);

•	Settle (Object-ID Vendor, Integer Amount, Object-ID Broker);

## C.2.5	Example micro compensation scheme

A candidate compensation scheme implementing the above service primitives may be based on the following micro-compensation scheme. A significant benefit of micro-compensation over macro-compensation is the flexibility in allowing any granularity of value in the transaction.

An object generates a hash chain of length N by applying a hash function N times to a random secret value PN, the root of the hash chain, to obtain a final hash P0, the anchor of the hash chain. The object commits to the chain by digitally signing the anchor with the private key. For each payment, the object releases a pre-image of the last hash value. For example, the object releases the hash value P1 for the first payment. The receiver of the payment can apply the same hash function to the value P1 to obtain the anchor P0. Since the hash function is one-way, only the object could have generated the hash value. The object commits to the anchor of the chain P0, the length of the chain, the value of each hash, and the vendor at which he/she wishes to spend the chain. Prior to payment, the object forwards the commitment to the vendor, who can verify its authenticity (e.g. offline). For each micro-payment, the object releases the next (number of) payment hash(es) in the chain. The vendor can redeem the hashes at the Broker with whom the object has an account at a later date, by presenting the highest payment hash along with the signed commitment. (There exist optimizations to this scheme.)

The following service primitive initiates the acquirement of Length number of tokens (returned in Tokens), each valued and honoured by Vendor (e.g. via a macro transaction):

•	Buy-Tokens (Object-ID Broker, Integer Length, Integer Value, Object-ID Vendor, Hash P0);

The Commit-Token is used to initiate compensation, and it allows the Vendor to verify the validity of the tokens via the Broker:

•	Commit-Token (Object-ID Vendor, Object-ID Broker, Integer Length, Integer Value, Hash P0);

Explicit micro-compensation is made by invoking the primitive:

•	Submit-Tokens (Object-ID Vendor, Integer Length, Hash Tokens [])

Length number of tokens is transferred to the Vendor.

The Submit-Tokens functionality may be integrated in other primitives, e.g. in the Messaging primitives.

The Vendor applies the following primitive for redeeming the tokens (e.g. macro-payment).

•	Redeem-Token (Object-ID Broker, Hash Tokens [])

<Text>

# C.3	Home Automation use cases

IOT communications may play a major role in houses, where automation of some processes appear essential in many home-related sectors such as comfort, health, security, energy efficiency,…

Deployment of Home Automation involves service requirements that can be derived from the description of some associated use cases, as below.

## C.3.1	Energy efficiency at home

The purpose of this use case is to use IOT communications to optimize the use of energy in a house. For example, some occupancy sensors will be used in order to get the information about whether there is somebody or nobody in a room. In case nobody is in anymore, the lights will automatically be switched off.  This basic example can be extended to other types of sensors in different rooms of the house to control the energy consumption from different equipments. The sensors and actuators are connected either wirelessly or via wires (e.g. via PLC) to an IOT gateway. By getting the data from the various sensors (e.g., measure of the electricity consumption of the heater, presence detection, outside temperature sensor), the IOT gateway can send the appropriate orders (e.g., to switch off the heater in a room or in the whole house) to the actuators depending on the local context information (e.g. nobody in the house any more for a while). The IOT system thus allows reducing energy consumption by automatically adapting the use of the house equipment to the local parameters.

In such a use case, the abstraction of the heterogeneous technologies used by the sensors and actuators is performed in the IOT gateway, which treats all the data received, merges them with other context information and sends appropriate orders to the actuators as a result of the treatment.

Sensors and actuators that are deployed in houses are expected to use low power consuming technologies (especially those sensors and actuators used for energy efficiency objectives!) so that the end-user do not need to replace their batteries before a long time. This is also needed for practical reasons when sensors or actuators are installed in some places with difficult access.

This use case also relates to the energy monitoring, by informing the customer on his energy consumption, in a global or a detailed (equipment by equipment) way, with possible remote access to be aware of this consumption even when the end-user is not at home. It may also alert the user of any detected anomaly compared to the usual consumption, so that any leak can be managed in due time.

Annex <D> (informative):
Security aspects

# D.1	Trusted and secure Environment

Some IOT devices typically operate unmanned and unguarded by humans and thus are subject to increased levels of security threats, such as physical tampering, hacking, unauthorized monitoring, etc. Terminals may also get geographically dispersed over time. Such IOT devices must therefore provide adequate security to detect and resist attacks. Devices may also need to support remote management including firmware updates to correct faults or recover from malicious attacks.

Some IOT Equipments (IOTes) are typically required to be small, inexpensive, able to operate unattended by humans for extended periods of time, and to communicate over the wireless area network (WAN) or WLAN. IOTes are typically deployed in the field for many years, and after deployment, tend to require remote management of their functionality. It is likely that IOTes will be deployed in very large quantities, and many of them will also be mobile, making it unrealistic or impossible for operators or subscribers to send personnel to manage or service them. These requirements introduce a number of unique security vulnerabilities for the IOTes and the wireless communication networks over which they communicate.

The Third Generation Partnership Project (3GPP) Security Workgroup (SA3) has collected categories of vulnerabilities

1.	physical attacks including the insertion of valid authentication tokens into a manipulated device, inserting and/or booting with fraudulent or modified software (reflashing), and environmental/side-channel attacks, both before and after in-field deployment

2.	configuration attacks such as fraudulent software update/configuration changes; misconfiguration by the owner, subscriber, or user; and misconfiguration or compromise of the access control lists

3.	protocol attacks directed against the device, which include man-in-the-middle attacks upon first network access, denial-of-service (DoS) attacks, compromising a device by exploiting weaknesses of active network services, and attacks on over-the-air management (OAM) and its traffic

4.	attacks on the core network, the main threats to the mobile network operator (MNO), include impersonation of devices; traffic tunneling between impersonated devices; misconfiguration of the firewall in the modem, router, or gateways; DoS attacks against the core network; also changing the device’s authorized physical location in an unauthorized fashion or attacks on the network, using a rogue device

5.	user data and identity privacy attacks include eavesdropping user’s or device’s data sent over the access network; masquerading as another user/subscriber’s device; revealing user’s network ID or other confidential data to unauthorized parties

Following are some references to the security requirements from the IOT specifications:

•	As per section 5.2.1 of the IOT functional architecture document (ETSI 102 690), IOT devices provide secure transmission of messages. Security sensitive functions must be executed from within a secure environment. Also, in order to ensure that the message is secure, the executables providing the cryptographic security and the transmission of the messages must be integrity checked before being executed. Such an integrity check has to be performed in a secure execution environment which resists malicious attacks and unauthorized access.

•	As per section 6.2.7 of the IOT requirements document (ETSI 102 689), the devices must support accurate and secure time synchronization. In order to ensure that such synchronization software is secure, the software must execute in a secure environment and must be integrity checked and validated before it is executed.

•	As per section 6.3.2 of the IOT requirements document (ETSI 102 689), the IOT device must support secure and traceable compensation and micro-compensation. In order to ensure that the software/firmware necessary to generate the compensation information and the cryptographic keys necessary for authentication and compensation are integrity verified and secured, the integrity check of the firmware has to be executed in a secure and trusted environment in the IOT device. The secure environment must provide secure storage to store the necessary keys and data. Such secure storage has to be inaccessible to unauthorized users.

•	As per section 5.2.23 of the IOT smart metering use case, the smart metering provider can initiate or the IOT device has the ability to report the security status of the device. Such monitoring and reporting software must be secured from malicious modifications and therefore execute in a secure environment.

In addition, Application in IOT devices that generate measurements or information which is accountable and billable, or IOT Devices that require device integrity validation, must provide a trusted secure execution environment or trusted platform for executing applications that require high-security execution environments. Therefore these IOT Devices are expected to provide a trusted and secured execution environment. Such a TrE would provide secure storage and resist malicious and unauthorized access. It would also be integrity checked and validated before it is started or executed by a hardware root of trust.

The TrE can be a logically separate entity within the IOTE, containing all necessary resources to provide a trustworthy environment for the execution of software and storage of sensitive data. The TrE is expected to provide isolation of software and stores data by separating them from the rest of the IOTE, thus protecting from unauthorized access. The TrE is expected to provide a trust anchor, which would be secured against tampering by hardware security measures. In particular, it is expected to provide the root of trust (RoT) for secure operation. The RoT is expected to be an immutable part of the TrE, which would secure internal operation and would be able to expose properties, or the system’s identity, to external entities. Based on the RoT, the TrE would perform a secure start-up process ensuring that the TRE reaches a determined trustworthy state

As an example, the TrE can be built from an irremovable and immutable hardware based Root of Trust by way of secure boot process. The secure boot process would include checks, performed by the Root of Trust, of the integrity of every loaded or started component of TrE, and would also include checks, performed by the TrE after it has started, of every loaded or started component of the IOT device other than the RoT or the TrE. The TrE can store at least one cryptographic key that is physically bound to the IOT device. The TrE can use such key to authenticate the TrE to the IOT system and also to protect the confidentiality and integrity of communication messages for device integrity checking and validation between the IOT device and the IOT system.

Annex <y> (informative):
Bibliography

[SCP]	ETSI TC SCP (Smart Card Platform), 102 412, V 8.1.0, Requirements for applications on a IOT UICC.

<Publication>: "<Title>".

# History

| Document history |
| --- |
| V0.0.0 | 06-2011 | TR skeleton proposed to GISFI #5 IoT WG |
| V0.0.1 | 06-2011 | Frame-work document for Technical Report on IoT Service Requirements (GISFI_IoT_201106103) |

Reference

[1] GISFI_IoT_201203175 - Technical Report on IoT Reference Architecture

# Text boxes

Interface -I3

Interface -I2

Interface -I1

Core Network

Applications

Service Platform

Gateway

Sensor / Devices